Chromatography Simulations

Charles Lucy, Department of Chemistry, Gunning/Lemieux Chemistry Centre, University of Alberta, Edmonton, Alberta, T6G 2G2, charles.lucy@ualberta.ca

Given the extraordinary challenges presented by COVID-19, the following pages provide a preview of the chromatography simulator problems that are in the just-released 10th edition of Daniel Harris and Charles Lucy’s Quantitative Chemical Analysis from Macmillan. Go to https://www.macmillanlearning.com/college/us/product/Quantitative-Chemical-Analysis/p/1319164307?selected_tab=About and click on "Find your Rep" (just below the cover image) to request an instructor’s copy of the text.

HPLCSimulator (HPLCSimulator.org) is the high fidelity simulation of HPLC that I used in my grad class. It is described in detail in P.G. Boswell, J. Chem. Ed. 2013, 90, 198.  It simulates retention and band broadening in both isocratic and gradient conditions, and incorporates many subtleties of HPLC such as effect of injection volume, detector time constant, and extra column volume. Problem 25-41 in the 9th edition of Harris's Quantitative Chemical Analysis is an introduction to the features of HPLCsimulator.org. The website HPLCsimulator.org has exercises written by the authors of the simulator suitable for undergraduate classes. I have additional exercises that I could dig up from my grad class, but they would be too advanced for undergraduate quant or instrumental courses. Unfortunately, the program is written in Java. When I loaded it on my computer a few years ago, it would not launch until one of my students fiddled with my computer settings. I just tried to load it on my new laptop, and it would not launch.

Recommended: HPLC Teaching Assistant (https://epgl.unige.ch/labs/fanal/hplc_teaching:en) is an Excel simulator written by Davy Guillarme of the University of Geneva, one of the new stars in HPLC research (LGCC North America 2016, 34 (Oct.) 804 and 34 (Nov), 906) . It has a selection of sheets that explore retention, band broadening, resolution, extra column broadening, etc. Tenth edition QCA problems that use this program are 23-30 (Resolution), 23-55 (Band broadening), 23-56 (extra-column broadening), 25-48 (isocratic HPLC), and 25-50 (gradient HPLC).  These problems and their solutions are on following pages. Note the spreadsheet available at the link is an update of that originally published by Davy, which had a glitch.

ProEZGC from Restek (https://www.restek.com/proezgc) is a high fidelity GC simulator that I used to generate many figures in the GC chapter (Ch. 24) in the 10th edition of QCA. However, many steps are involved in setting up conditions, and so I did not create any problems using it.  I had planned to work on a drylab experiment using it in June, but will see what I can pull together in the next couple of days.

An alternate high fidelity GC simulator is GCsimulator.org. However, Paul Boswell left academia before he wrote up a paper on this. I think James Harynuk (U. Alberta) may have used this program in his grad class. I believe it will have the same Java issues as HPLCsimulator.org.

Problem 24-44 in the 10th edition gives students practice with larger data sets (hence "big data"). These spreadsheets will be available on the text website by fall, but have not been uploaded yet. Contact me if you would like the spreadsheet.

All the best,

Chuck  :)

Co-author of 10th edition of Daniel Harris and Chuck Lucy’s Quantitative Chemical Analysis, Macmillan

PS If you don't have an instructor's evaluation copy of the 10th edition of Quantitative Chemical Analysis, go to https://www.macmillanlearning.com/college/us/product/Quantitative-Chemical-Analysis/p/1319164307?selected_tab=About and click on "Find your Rep" which is just below the cover image.

Harris and Lucy, Quantitative Chemical Analysis, 10th edition, Macmillan

Chromatography Simulator Problems

23-30.	 Resolution with HPLC Teaching Assistant, an Excel spreadsheet that simulates high performance liquid chromatography separations.27 Download the Excel file from SaplingPlus, macmillanlearning.com, or the link in reference 27, and open the file. You will see a menu page with Resolution at the top left. If not, click the blue home button in the top left corner. Click on Resolution for this problem. Adjust the image size using the slide bar at bottom right until you see three graphs along the bottom showing the relationships between resolution and retention factor, separation factor (called selectivity) and plate number (efficiency) similar to those generated in Problem 23-28.

(a)	Use the top slide bar at the top left to adjust retention factor. Keep Selectivity at 1.10 and Efficiency at 10 000. What is the resolution for k1 = 0, 1, 2, 5, and 10? What is the retention time of the second peak at each retention factor? Tip: Excel shows x- and y-values for a data point in a graph when you position your cursor over the point.

(b)	With a retention factor of 1 and efficiency of 10 000, adjust selectivity to 1.00, 1.10, and 1.20. What is the resolution and retention time of the second peak at each value for ?

(c)	With retention factor of 1 and selectivity 1.10, adjust plate number 2 000, 4 000, 6 000, 8 000, 10 000, 12 000, and 17 000. What is the resolution and retention time of the second peak at each value of N?

(d)	Repeat (c). What is the maximum absorbance for peak 1 for plate numbers of 2 000, 6 000, and 17 000? Subtract the baseline signal from peak heights.

D. Guillarme and J.-L. Veuthey, “HPLC Teaching Assistant—Part I and II,” LCGC North Am. 2016, 34 (October), 804 and 2016, 34 (December), 906.  Excel file may be downloaded from https://epgl.unige.ch/labs/fanal/hplc_teaching:en (current version) or from SaplingPlus (version 1.41), or from macmillanlearning.com.

23-55.	 Efficiency with HPLC Teaching Assistant, an Excel simulation of high performance liquid chromatography.27 Download the Excel file from SaplingPlus, macmillanlearning.com, or the link in reference 27, and open the file. You will see a menu page with Resolution at the top left. If not, click on the blue home button in the top left corner. Select Efficiency from the menu. Check that you have the default settings: Lcol = 150 mm; dcol = 4.6 mm; dp = 5.0 m; and Flow rate = 1.0 mL/min. The red line in the bottom chromatogram labeled t0 is time for an unretained compound, which we call tM.

(a)	Use the flow rate slide bar to determine what flow rate gives the highest plate number N and lowest plate height H?

(b)	Increase the flow rate from the optimum in part (a). What happens to plate number N and plate height H? What broadening process causes this change? What happens to retention time as you increase flow rate?

(c)	Return to the optimum flow rate found in part (a). Decrease the flow rate. What happens to plate number N and plate height H? What broadening process causes this change? What happens to retention times as you decreased flow rate?

(d)	Why is the plate height H not 0 at the optimum flow rate in part (a). Hint: Liquid chromatography uses packed columns.

23-56.	 Extra-column Broadening with HPLC Teaching Assistant, an Excel simulation of high performance liquid chromatography.27  Download the Excel file from the SaplingPlus, macmillanlearning.com, or the link in reference 27. Open the file. You will see a menu page with Resolution at the top left. If not, click on the blue home button in the top left corner.

(a)	Click on Injected volume. Start with default settings: Lcol = 150 mm; dcol = 4.6 mm; dp = 5.0 m; Flow rate = 1.0 mL/min; log P = 1.6, 2.0, and 2.3 (see Problem 23-17 for definition of log P, also known as log Kow); %MeOH = 30, Vinj = 20 L; and Cinj = 20 mg/L. Adjust the image size using the slide bar at bottom right until you see Ntheoretical at bottom left, which should be ~11 700. Record the observed plate number (Nreal) for the 3 peaks. Record peak height for each peak. Tip: Excel shows x- and y-values for a data point in a graph when you position your cursor over the point. Subtract the baseline signal from peak heights. Change injection volume to 100 L, and record the observed plate number and corrected peak height for the three peaks. What trends do you observe for plate number and peak height with increasing injection volume?

(b)	What is the plate number and corrected peak height for an injection of 20 L of 100 mg/L standard? How do these compare to the injection of 100 L of 20 mg/L standard?

(c)	Click on home button in top left corner. From the menu choose Tubing geometry. Start with default settings listed in part (a) plus Ltubing = 100 cm and Dtubing = 127 m. Record plate number for the three peaks. What are plate numbers for: Ltubing = 200 cm and Dtubing 127 m; and Ltubing = 100 cm and, using the pull-down menu, Dtubing = 250 m?

23-57.	Either peak height or peak area in a chromatogram might be used to determine the quantity of analyte.

Peaks for nitrate standards separated by ion chromatography. [Data from F. Kadjo, J. Z. Liao, P. K. Dasgupta, and K. G. Kraiczek, “Width Based Characterization of Chromatographic Peaks: Beyond Height and Area,” Anal. Chem. 2017, 89, 3893, open access.]

(a)	Use a ruler to draw a baseline under the peak by connecting flat regions before and after the peak. Measure the vertical height of each peak from baseline to apex. Plot peak height versus nitrate concentration. Is the calibration linear? Hint: Residuals—vertical distance between data points and line—should be randomly distributed about the line (Section 5-2).

(b)	Peak area is normally integrated by a chromatographic data station. If peak area must be measured manually, and if the peak is Gaussian, then the area is

Area of Gaussian peak = 1.064  peak height  w1/2

where w1/2 is the full width at half-height. Measure the area of each peak. Plot peak area versus nitrate concentration. Is the calibration linear?

(c)	Group activity: Another manual integration method (used when I was a student) which does not require that peaks are Gaussian is the cut-and-weigh method. Make five photocopies of the nitrate peaks, using the maximum enlargement that fits on a page. Draw a baseline under the peaks connecting the baseline before and after the peak. Using scissors, cut out each of the five peaks and weigh each peak with an analytical balance. Use a separate copy for each peak. Plot the area (weight) of each peak versus nitrate concentration. Is the calibration linear?

(d)	Two possible causes of nonlinearity are (1) deviations from Beer’s law at high concentration and (2) peak tailing or fronting caused by nonlinear isotherms. Explain how these causes could have a larger effect on peak height than peak area.

24-44.	 Big Data: Gas chromatography–mass spectrometry. Mass spectrometry can be a universal or a specific detector for gas chromatography. This problem explores those characteristics using data for the kerosene separation shown in Figure 24-23 [10th edition], which is available in a spreadsheet at macmillanlearning.com or SaplingPlus.

(a)	Plot a chromatogram with 0–12 minutes from column A on x-axis and total ion current in column B on the y-axis. Use Scatter plot with straight lines. (Hint: Scrolling down such large data sets takes time. Press the End key and then arrow down to skip to the last populated cell in the column. End then arrow up returns you to the top of the column. Time is in cells A7:A5634 and total ion current in cells B7:B5634). Zooming in on 1.4–3.2 min yields the total ion current chromatogram in Figure 24-23.

(b)	Plot an extracted-ion chromatogram for m/z 91 (column E) that is characteristic of monoaromatics. Zooming in on 1.4–3.2 min yields the extracted-ion chromatogram in Figure 24-23. What is peak height for toluene at 1.72 min?

(c)	Detector signals must be digitized to numbers so that a computer can process the data. Click on the chromatogram in (b) and add markers for the data points. Now zoom in to 1.70–1.76 min. How many data were collected across the baseline (4) width of the toluene peak?

(d)	Plot an extracted-ion chromatogram for m/z 85 (column C), which is characteristic of alkanes including straight-chain and branched alkanes. Use the retention data for standards on the second sheet of spreadsheet to identify the peaks for octane, decane and dodecane. Does any alkane elute at the same time as toluene? What is its peak height? What impact would this alkane have if toluene was quantified using the total-ion current?

(e)	Plot an extracted-ion chromatogram for m/z 128 (column F) which is characteristic of naphthalene which has a retention time of ~5.95 min. Why is there a peak at 2.91 min? (Hint: Is there a peak at 2.91 min in the extracted-ion chromatograms in part (b) or (c)?)

(f)	Additional data available: If you want to play with the data further, extracted-ion signals are also available for other m/z: m/z 83 is from cyclohexyl- and di-substituted cyclopentyl compounds, with low response for straight-chain and branched alkanes); m/z 142 is for methylnaphthalenes and weak response for decane; m/z 156 is dimethylnaphthalene ion and undecane. Mass spectrometry cannot distinguish the dimethylnaphthalene isomers. Signal at m/z 170 is the trimethylnaphthalene ion and dodecane which dominates the extracted ion chromatogram. Retention time data for standards is available on the second sheet of the spreadsheet.

Solutions Manual,

Harris and Lucy, Quantitative Chemical Analysis, 10th edition, Macmillan

23-30.	(a)	Retention factor (k1)		0	1	2	5	10

Resolution		0	1.14	1.52	1.89	2.07

Retention time tR2 (min)	~1.7	~3.7	~5.6	~11.3	~20.9

(b)	Separation factor ()	1.00	1.10	1.20

Resolution	0.00	1.14	2.08

Retention time (min)	~3.5	~3.7	~3.85

(c) 	Plate number (N)	2 000	4 000	6 000	8 000	10 000	12 000	17 000

Resolution	 0.51	 0.72	 0.88	 1.02	 1.14	 1.24	 1.48

Retention time is constant at 3.7 min.

(d)	Plate number (N)	2 000		6 000		17 000

Peak maximum (mAU)	 ~41	 	 ~64		 ~106

Baseline absorbance ~ 2 mAU

Peak height (mAU)	~39		~62		~104

Higher plate number gives sharper peaks with greater maximum signal.  Changes in plate number will affect quantitation using peak height.

23.55	(a)	0.5 mL/min

(b)	Plate number N decreases and plate height H increases.  At high flow there is insufficient time for mass transfer between mobile and stationary phase 
(C-term of van Deemter).  Retention times decrease with faster flow.

(c)	Plate number N decreased and plate height H increased as flow slowed.  At slow flow rates, there is more time for solute to diffuse and broaden—a process known as longitudinal diffusion (B-term of van Deemter).  Retention times increase with slower flow rates.

(d)	Analyte passing through a packed column finds multiple paths of different length through the column, which causes broadening.  Multipath band broadening (A-term of van Deemter) does not depend on flow rate.

23.56.	(a)	Retention factor (k)	2.2	4.7	8.3

Plate number (20 L)	11 411	11 609	11 666

Plate number (100 L)	7 160	9 761	10 894

Small injection yields plate numbers close to theoretical.  Larger injection has lower plate numbers due to extra-column broadening due to injection.  Early peaks are affected by extra-column broadening more than late peaks.

Retention factor (k)	2.2	4.7	8.3

Peak height (20 L) 	~26	~10	~5

Corrected peak height (20 L)	~24	~8	~3

Peak height (100 L) 	~76	~34	~16

Corrected peak height (100 L)	~74	~32	~14

Peak heights increase with volume injected.  Early peak increases only 
~3-fold despite 5-fold increase in injection due to broadening caused by large injection volume.  Late-eluting peak height increases near 5-fold, as late-eluting peaks are less affected by injection broadening.

(b)	Retention factor (k)	2.2	4.7	8.3

Plate number (20 L of 100 mg/L)	11 411	11 609	11 666

Plate number (100 L of 20 mg/L)	7 160	9 761	10 894

Corrected peak height (20 L of 100 mg/L)	~118	~38	~16

Corrected peak height (100 L of 20 mg/L)	~ 74	~32	~14

Both injections load the same mg.  Injecting a small volume minimizes extra-column broadening, yielding taller peaks.

(c)	Retention factor (k)	2.2	4.7	8.3

Plate number (100 cm of 127 m)	11 544	11 651	11 682

Plate number (200 cm of 127 m)	11 392	11 602	11 664

Plate number (100 cm of 250 m)	9 720	10 999	11 429

Variance caused by connecting tubing is   =  .  
Variance depends on tubing length, but only to the first power.  Increasing length of connecting tubing has only a small effect on plate number.  Broadening depends on the 4th power of tubing diameter, so an increase in diameter of connecting tubing has a more dramatic effect on plate number.  In both cases, early eluting peaks are more affected than later eluting peaks.

23-57.

(a) 	In height-based calibration, there is a pattern to residuals, the intercept is slightly positive, and R2 is < 0.995.  These characteristics suggest that there is subtle curvature to the calibration data.

(b)	Area-based calibration has random small residuals (all points on line), smaller intercept, and R2 > 0.999.  This calibration is linear.

(c)

Weight-based calibration has random small residuals (all points on line), small intercept, and R2 > 0.999.  This calibration is linear.

(d)	Nonlinear detector response or isotherm.  Absorbance are high (>2), so deviation from Beer’s law is possible.  Nonlinear detector response affects peak height more than peak area.  Height depends on highest absorbance reading, where any deviation from Beer’s law is greatest.

Peak tailing or fronting caused by isotherm nonlinearity would affect the peak height, but not peak area.  The 2.0 mM peak has a shorter retention time and wider w1/2 than smaller peaks, suggesting that 2.0 mM is overloading column.  Retention time, w1/2, and N are constant if concentrations are on linear portion of isotherm.

24-44.	(a)

(b)

The extracted ion chromatogram is much simpler.  The signal has decreased substantially, but removal of overlapping peaks will improve quantitation.

(d)

Yes, an alkane elutes at 1.75 min.  Its height is ~31 000—about 10% of that of toluene in part (b).  The presence of this co-eluting alkane would bias toluene quantitation high by a significant amount.

(e)

Peak at 2.91 min at m/z 85 characteristic of alkane.  No peak at 2.91 min at m/z characteristic of monoaromatics.  The peak at 2.91 in the m/z 128 chromatogram is likely from an alkane.  Given empirical formula for alkanes is CnH2n+2, the m/z 128 peak is possibly from nonane.  Its retention time fits the alkane pattern in part (d).  To check this hypothesis, the retention time of a nonane standard should be determined and the mass spectrum at 2.91 min compared with a mass spectral library.

25-48.	(a) 	tM = 1.74 min.  Retention decreases with increasing % methanol, so methanol is the strong mobile phase component.  No peak elutes before 
1.74 min.  It takes 1.74 min for an unretained compound to elute from the column.

(b) 	Retention time of last peak is 2.05 min.  The retention factor is 
k = (tR – tM)/tM = (2.05 – 1.74)/1.74 = 0.18.

(c) 	Retention times and retention factors are shown in spreadsheet.  Retention factor of last peak increases 2.5-fold for each 10% decrease in methanol.

(d) 	The plot of log k versus % methanol yields a straight line.  Interpolating at 45% yields y = 0.24, which corresponds to k = 100.24 = 1.74.  tR = (1 + k)tM = 4.77 min, which is what is observed with HPLC Teaching Assistant.

(e)	At 30% methanol, only 3 peaks are observed due to coelution of some analytes.  The log k versus % methanol plots in the upper right of the Excel screen shows lines for 3 components converge at 30% methanol.

(f)	A mobile phase of 52% methanol yields resolution of 1.5 in 3.5 min.  Using 45% methanol provides resolution of 1.75, and so would be more rugged.  Separation time does increase to ~5 min.

## 25-50.	(a)	t = tR5 – tR1 = 22.69 min – 9.26 min = 13.43 min

t/tG = 13.43 min/40 min= 0.336;  0.25 < t/tG < 0.40, so either isocratic or gradient could be used.

(b)	tR1 = 9.26 min.  % Methanol = 10% + (9010)/40 min  9.26 min = 28.52%  29%. For tR5 = 22.69 min, % methanol is 55.34%. With a gradient from 29–55% over 40 min, tR1 = 4.4 min, tR5 = 24.7 min, and minimum resolution is 1.3.

## (c)	The minimum resolution in gradient (b) are peaks 2 and 3 which are early in the chromatogram.  Early peaks are close to tM.  Lowering initial % methanol increases retention of early peaks, and improves resolution.  Altering final % methanol has little effect on resolution of early peaks.  A gradient of 25–55% methanol over 40 minutes yields retention times from 5.4 to 27.7 min with minimum resolution of 2.4.

## (d)	A 25–55 methanol gradient over 10 minutes provides resolution 1.9.

## The minimum resolution is close to our target value of 2.  The method would be satisfactory.